# CHAPTER 10.  Interlocking Concrete Pavers

### 10.1	General

10.1.1	This chapter provides basic guidelines for the manual installation of concrete interlock pavers based on guidelines provided by the CSA.  These guidelines assume installation will be on a compacted aggregate base under the bedding sand and pavers.  Other bases can be used, such as cement or asphalt-treated aggregate, concrete or asphalt.

10.1.2	Pavements subject to heavy vehicular traffic should be designed in consultation with a qualified civil engineer, in accordance with established AASHTO flexible pavement design procedures.

10.1.3	Related Guidelines and References

.1	Canadian Standards Association (CSA):

.1 	A231.2, Precast Concrete Pavers.

.2 	A23.2A, Sieve Analysis of Fine and Coarse Aggregates.

.2	© 1999 ICPI Tech Spec No. 9 Interlocking Concrete Pavement Institute—Revised August 2003 3. CSA A23.1-FA1, Concrete Materials and Methods of Concrete Construction.  4. CSA A179, Mortar and Grout for Unit Masonry.

.3	Interlocking Concrete Pavement Institute (ICPI)

### 10.2	Product Selection

    - The Landscape Architect or Consultant and Owner shall agree upon a colour and design selected from a manufacturer’s list of available products.

    - The Owner will be provided with four (4) representative full-size samples of each paver type, thickness, color, finish that indicate the range of color variation and texture expected in the finished installation. Accepted samples become the accepted guide for the work.

    - The design shall indicate perimeter conditions, relationship to adjoining materials and assemblies, layout, colour arrangement, pattern installation and details.

10.2.4	The Contractor will provide:

.1	a manufacturer’s certification of concrete pavers as having met applicable CSA guidelines.

.2	Manufacturer’s catalogue containing product data, installation instructions, and material safety data sheets for the safe handling of the specified materials and products.

### 10.3	Delivery, Storage and Handling of Product

10.3.1	The Contractor shall comply with manufacturer’s ordering instructions and lead-time requirements to avoid construction delays.

10.3.2	Delivery and paving schedule will be coordinated to minimize interference with normal use of buildings adjacent to paving.

10.3.3	Concrete pavers will be delivered to the site in steel-banded, plastic-banded or plastic-wrapped packaging capable of transfer by forklift or clamp lift.

10.3.4	Pavers will be unloaded at job site in such a manner that no damage occurs to the product. Materials should be protected such that they are kept free from mud, dirt, and other foreign materials.

10.3.5	Bedding sand and joint sand should be securely covered with waterproof covering if required to prevent exposure to rainfall or removal by wind.

### 10.4	Bedding and Joint Sand

10.4.1	The Contractor will provide bedding and joint sand (table 10-2)that is clean, non-plastic, free from deleterious or foreign matter, symmetrically shaped, natural or manufactured from crushed rock.

10.4.2	Limestone screenings, or stone dust shall not be used for the bedding layer. Sand for the bedding sand material that does not conform to  the grading requirements of CSA A23.1 (FA1) shall not be used.

10.4.3	Bedding sand conforming to the grading requirements of CSA A23 (FA!) may be used for the jointing material.  Mason sand, or sand conforming to CSA A179 shall not be used for the bedding layer.

10.4.4	Where concrete pavers are subject to vehicular traffic, utilize sands that are as hard as practically available.

10.4.5	Bedding sands shall be sieved according to CSA A23.2A

10.4.6	Bedding sand material requirements should conform to the grading requirements of CSA A23.1-(FA1).  Refer to Table 10-1. In addition, the amount passing the .075 mm sieve should be as close to zero as practically possible.

#### Table 10-1

##### Grading Requirements for Bedding Sand CSA A23.1 (FA1)

Sieve Size 			Percent Passing

| 10 mm | 100 |
| --- | --- |
| 5 mm | 95 to 100 |
| 2.5 mm | 80 to 100 |
| 1.25 mm | 50 to 90 |
| .630 mm | 25 to 65 |
| .315 mm | 10 to 35 |
| .160 mm | 2 to 10 |

#### Table 10-2

##### Grading for Joint Sand ASTM C 144

Sieve Size Natural Sand	 Percent Passing

| 5 | 100 |
| --- | --- |
| 2.5 | 90 to 100 |
| 1.25 | 85 to 100 |
| .630 | 65 to 95 |
| .315 | 15 to 80 |
| .160 | 0 to 35 |

### Edge Restraints

10.5.1	Edge restraints should be installed around the perimeter of all interlocking concrete paving unit areas, as specified by the Owner or Consultant.  Edge restraints are available in a variety of materials including:

- plastic

- concrete

- aluminium

- steel

- pre cast concrete

- cut stone

### 10.6	Execution

10.6.1 	Interlocking paving stones will be installed by qualified contractors, including, but not limited to:

.1 	Contractors able to provide job references from projects of a similar size and complexity.

10.6.2	Pavers and sand should not be installed under the following conditions:

.1 	during heavy rain or snowfall.

.2	over frozen base materials.

.3	over frozen sand or saturated sand

10.6.3	Mock-Ups.  Where required by the Owner or the Consultant, a 2 m x 2 mock-up paver area will be constructed. This area will be used to determine surcharge of the bedding sand layer, joint sizes, line(s), laying pattern(s), color(s) and texture of the job.

.1	 This area will be used as the guideline by which the work will be judged.

.2 	Subject to acceptance by owner, the mock-up may be retained as part of finished work.

.3	 If the mock-up is not retained, it will be removed and properly disposed of by the Contractor.

    - The Contractor shall verify that subgrade preparation, compacted density and elevations conform to specified requirements:

.1	Compaction of the soil subgrade is recommended to at least 98% Proctor density per ASTM D 698 for pedestrian areas and residential driveways. Compaction to at least 98% modified Proctor density per ASTM D 1557 is recommended for areas subject to heavy vehicular traffic. Stabilization of the subgrade and/or base material may be necessary with weak or saturated subgrade soils.

10.6.5	Mechanical tampers are recommended for compaction of soil subgrade and aggregate base in areas not accessible to large compaction equipment. Such areas can include those around lamps, utility structures, building edges, curbs, tree wells and other protrusions.

10.6.6	The Contractor shall verify that geotextiles, if applicable, have been placed according to drawings and specifications.

10.6.7	Prior to screeding the bedding sand, the recommended base surface tolerance should be ± 3/8 in. (10 mm) over a 10 ft. (3 m) straight edge.

10.6.8	Spread bedding sand evenly over the base course and screed to a nominal 1 in. (25 mm) thickness, not exceeding 11/2 in. (40 mm) thickness. Spread bedding sand evenly over the base course and screed rails, using the rails and/or edge restraints to produce a nominal 1 in. (25 mm) thickness, allowing for specified variation in the base surface.

.1	Do not disturb screeded sand.

.2	Screeded area shall not substantially exceed that which is covered by pavers in one day.

.3	Do not use bedding sand to fill depressions in the base surface.

10.6.9	The elevations and surface tolerance of the base determine the final surface elevations of concrete pavers. The paver installation contractor shall not correct deficiencies in the base surface with additional bedding sand or by other means. Therefore, the surface elevations of the base should be checked and accepted by the General Contractor or designated party, with written certification to the paving subcontractor, prior to placing bedding sand and concrete pavers.

10.6.10	Lay pavers in pattern(s) shown on drawings. Place units hand tight without using hammers. Make horizontal adjustments to placement of laid pavers with rubber hammers as required. Provide joints between pavers between [1/16 in. and 3/16 in. (2 and 5 mm)] wide. No more than 5% of the joints shall exceed ¼ in. (6 mm) wide to achieve straight bond lines.

10.6.11	Joint (bond) lines shall not deviate more than ± ½ in. (15 mm) over 50 ft. (15 m) from string lines.

10.6.12	Fill gaps at the edges of the paved area with cut pavers or edge units. Cut pavers to be placed along the edge with a double blade paver splitter or masonry saw. For vehicular applications, cut pavers should not be less than 1/3 of the original size of the paver.  For pedestrian areas and driveways, the cut pieces should be no less than 10 mm wide.

10.6.13	Use a low-amplitude plate compactor capable of at least minimum of 5,000 lbf (22 kN) at a frequency of 75 to 100 Hhz to vibrate the pavers into the sand. Remove any cracked or damaged pavers and replace with new units.

10.6.14	Simultaneously spread, sweep and compact dry joint sand into joints continuously until full. This will require at least 4 to 6 passes with a plate compactor. Do not compact within 6 ft (2 m) of unrestrained edges of paving units.

10.6.15	All work within 6 ft. (2 m) of the laying face must shall be left fully compacted with sand-filled joints at the end of each day or compacted upon acceptance of the work. Cover the laying face or any incomplete areas with plastic sheets overnight if not closed with cut and compacted pavers with joint sand to prevent exposed bedding sand from becoming saturated from rainfall.

10.6.16	Remove excess sand from surface when installation is complete, except when excess joint sand should be allowed to remain on surface to protect pavers from damage from other trades.  The Contractor will be responsible for removing excess sand at the completion of construction or as directed by the Consultant.

10.6.17	Surface shall be broom clean after removal of excess joint sand.

10.6.18	Edge restraints should be installed as per the drawings and manufacturer’s recommendations, at the indicated elevations.

### 10.7	Field Quality Control

10.7.1	Surface tolerances on flat slopes should be measured with a rigid straightedge. Tolerances on complex contoured slopes should be measured with a flexible straightedge capable of conforming to the complex curves on the pavement surface.

10.7.2	The final surface tolerance from grade elevations shall not deviate more than ± 3/8 in. (10 mm) under a 10 ft (3 m) straightedge.

10.7.3	Check final surface elevations for conformance to drawings.  For installations on a compacted aggregate base and soil subgrade, the top surface of the pavers may be 1/8 to ¼ in. (3 to 6 mm) above the final elevations after compaction. This helps compensate for possible minor settling normal to pavements.

10.7.4	The surface elevation of pavers shall be 1/8 in. to ¼ in. (3 to 6 mm) above adjacent drainage inlets, concrete collars or channels.

10.7.5	Lippage: There shall be no more than 1/8 in. (3 mm) difference in height between adjacent pavers.

### 10.8	Cleaning, Sealing, and Joint Sand Stabilization

10.8.1	If specified, special cleaners, sealers or joint sand stabilization materials shall be applied in accordance with manufacturer’s recommendations.