# CHAPTER 13.  Landscaping over Rooftops and Structures

Rooftop gardens and landscaping over structure such as parking garages are an opportunity to create green spaces in Ontario.  This practice is common in Europe and is becoming more accepted in Ontario.

### 13.1 General

13.1.1 	Environmental Conditions: Landscaped areas on roof slabs and in contained planters are subject to more severe drying conditions, the elements and potential drainage problems than at ground level.   To confront these issues growing medium depth and type, drainage system, membrane layers, plant selection, amount of direct and reflected sunlight, watering/irrigation, water storage and maintenance all require special attention.

13.1.2 	Reference Publications and Legislation:

.1	Rooftop gardens are considered to be an extension of the roof and are therefore subject to the Municipal By-laws, local zoning, Ontario Building Code and the National Building Code.

.2	If the garden is accessible to the occupants or public then public-issues for handicap access, rail spacing, parapet heights, lights, exits and safety must be addressed.

.3	CMHC Roof Decks Design Guidelines.

.4	ASTM (American Society for Testing Materials) guidelines.

.5	Fire Codes:	CAN/ULC-S107 - Standard Methods of Fire Tests of Roof Coverings; National Standard of Canada.

.1	ASTM E 108 - Standard Test Methods for Fire Tests of Roof Coverings.

.6	Geosynthetic ASTM’s : D-4632/4595/3786/4833/4533/4355/4751/4491/5621

.1	CCMC - Technical Guide for PVC Sheet Waterproofing (Exposed to Light Pedestrian Traffic); National Research Council, Canada Construction Materials Centre (CCMC).

.2	CGSB 37-GP-54 M - Roofing and Waterproofing Membrane, Sheet Applied, Flexible, Polyvinyl Chloride; Canadian General Standards Board.

.3	CGSB 37-GP-55M - Application of Sheet Applied Flexible Polyvinyl Chloride Roofing Membrane; Canadian General Standards Board.

.7	National Building Code of Canada Compliance:  Comply with National Building Code of Canada 1995, Part 9, Clause 9.26.2.1(1)(h)

.8 	See Appendix “B” for other applicable legislation.

Principle Component Layers of a Rooftop Garden

** NOTE TO SPECIFIER **  Ultra Reflections, Marble, and Surcoseal.

13.1.3 	Scheduling: Hoisting and moving of soil, plants and drainage material onto or through buildings structures should be carefully coordinated with tenants and other trades on-site. All required permits and if applicable, building permits, shall be obtained.

13.1.4 	Load Capacity: Weight is the primary limiting factor for most roof garden or structural designs. Therefore the design of landscaped areas over structures shall be such that loading is not in excess of the design loading for the structure.  Hoisting and moving drainage material on structures shall be managed so as to avoid excessive loading. Both the intended landscape design loading and loading during construction shall be reviewed, approved and documented by a structural engineer.

13.1.5 	Growing Medium Depths and Volumes: The minimum recommended depths for growing medium over structures is shown in Table 13 - 1. Designs should take into account the effect of on soil moisture-holding capacity small depths and volumes. Small, narrow or shallow planters will dry out very quickly and require extra care in plant selection, irrigation design, monitoring and maintenance.

Table 13-1: 	Minimum Growing Medium Depths after Settlement

For On-Slab Applications, Including Roof Decks and Interiors

| Irrigated lawn areas Non-irrigated lawn areas Planting areas: ground cover areas Shrub areas: small shrubs large shrubs Tree pits small to medium trees large trees | 150 mm (6") 225 mm (9”) 225 mm (9") 300-500 mm (12-20") 500-900 mm (20-36") 450-900 mm (18-36") 900-1200 mm (36-48") |
| --- | --- |

From:    CMHC Roof Decks Design Guidelines

13.1.6	Growing Medium Properties: The growing medium consists of a specialized soil mix. The growing medium layer must be able to retain moisture and must provide firm anchorage for plant roots, supply the plants with essential nutrients and allow gaseous exchange.

.1	Growing medium for roof slabs and contained planters shall be designed to avoid plugging or caking at the filter cloth, and should therefore be low in content of fines (silts and clays). This layer should not become easily compacted, which could lead to acidification of the soil and ultimate degeneration of the plants.

.2	Growing medium properties shown in Table 5-1. for "High Traffic Maintenance Levels" may be applicable for use on roof slabs and in contained planters, amended for planting areas by increasing the content of organic matter to 14-20%. The organic matter may be present in a homogenous mixture with the mineral components or may be contained within the top 20 cm of growing medium.

.3	European List: The physical and chemical properties of the growing medium satisfy relevant FLL guidelines for the chosen material.  (Forschungsgesellschaft  Landschaftsentwicklung Landschaftsbau E. V., Ausgabe 1995: Research  Association for Landscape Development and Landscape Construction)  Table 13-2

Table 13-2

|  | Extensive Soil | Intensive Soil | Drain Material |
| --- | --- | --- | --- |
|  | one layer | multi-layered | soil mixture | bulk material mixture |  |
| PHYSICAL PROPERTIES |
| Water retention (compressed condition) | min. 25% | min. 35% | min. 50% | min. 15% (without water damming) |
| Water permeability (compressed condition) | min. 60 mm/min | min. 0,6 mm/min | min. 0.3 mm/min | min. 180 mm/min |
| Air Content (Fully Saturated) | min. 25% | min. 15% | min. 20% |  |
| Weight (density) (fully saturated) | 0.8-1.4 g/cm3 | 1.0-2.2 g/cm3 | 1.4-2.2 g/cm3 | 1.0-1.8 g/cm3 | 0.8-1.8 g/cm3 dependent on the material |
| CHEMICAL PROPERTIES |
| pH-value | 6.5 – 9.5 | 6.5 – 8.0 | 6.5 – 7.5 | 6.5 – 8.0 |
| Salt content of water extract (recommended, if possible) | max. 1 g/liter |
| Initial organic matter | 3-8% | 3.6% | 6-12% |  |
| Nitrogen (N) slightly soluble | max. 60 mg/liter | max. 60 mg/liter |  |
| Phosphorous (P2O5) | max. 150 mg/liter | max. 200 mg/liter |  |
| Potassium (K2O) | min. 150 mg/liter | min. 150 mg/liter |  |
| Magnesium (Mg) | max. 120 mg/liter | max. 120 mg/liter |  |

13.1.7 	Protection of Waterproofing: All slab areas, walls and other surfaces to receive growing medium shall have an impermeable surface / waterproof membrane with a protective cover (protection board).

13.1.8  	Drainage: All soil areas on-slab shall be adequately drained by the following methods:

layers are designed to store water for plant use and regulate water runoff.  Selection of material based on structural load capacity of roof or structure, vegetative selection, water permeability, storage capacity.

    - Drainage layer, consisting of, a manufactured product specifically designed for slab drainage or minimum 100 mm depth (4") of round drain rock.

.1	The drainage layer shall be installed immediately over the protective cover and separated from the growing medium with a filter fabric/geosynthetic textiles.

.2	Filter fabric /geosynthetic textiles shall be designed or selected to meet the strength, durability and permeability requirements of each application.

.3	Recommended minimum average roll test values for filter fabrics/geosynthetic textiles for on-slab installations are:

Table 13-3

| Puncture | ASTM-D-4833 | 0.240 KN |
| --- | --- | --- |
| Mullen Burst Strength | ASTM-D-3786: | greater than 1275kPa |
| Apparent Opening Size | ASTM-D-475 1: | 212 um |
| Permittivity | ASTM-D-449 1: | 2.1 sec,-' |
| Flow Rate | ASTM-D-4491: | 6300 I/min./M2 |

.4	The filter fabric/geosynthetic textiles shall be selected and designed to withstand wear and tear during construction without deterioration of its strength and or filtering properties. Where substantial traffic is envisioned over the filter fabric/geosynthetic textiles during construction a heavier, more durable fabric with high permittivity and flow rate should be selected.

.5	 Deck drains and planter drains where required to collect excess water. Bi-level drains should be used where appropriate to accept water at both the surface paving and the waterproofed membrane level. Drains shall be adequately protected to prevent soil particles and roots from entering the drain.

.6	All drains should be accessible for inspection and cleaning via a capped cleanout riser to finish grade. All slabs shall have a sufficient slope to ensure runoff to drain.

.7	 Deck drains may not be required immediately beneath the growing medium, provided that the excess water collected in the drainage layer beneath the growing medium is directed to flow out of the soil area to deck drains located outside the soil area.

.8	Manufactured drainage panels with filter fabric specifically designed for on-slab drainage shall be installed such that a continuous drain course is established.

13.1.10 Design Conditions: Structural considerations such as: wind load drag on trees, stress reflected heat, rapid winter freezing, snow load, medium and plant weight are important factors.

.1	Designs over slab may require earth forms and finish grades that could result in excessive loading on the structural slab if the full depth consisted of growing medium.

.2	Lightweight materials may be incorporated as voiding to reduce loading.

.3 	Voiding materials shall be of sufficient compressive strength to resist deformation and settlement due to the weights of growing medium, traffic, plants, water and other forces.

.4	 Voiding materials shall resist decomposition and shall not absorb more than 4% water by volume at any time.

.5	Materials commonly used for voiding are solid blocks or clean formed "seedling trays" of expanded polystyrene (EPS) which has a uniform cellular structure and is free from voids resulting from un-expanded components.

.6	Where voiding materials are specified or approved for use, they shall be arranged and installed such that the movement of water through the growing medium, filter fabric, voiding and drainage course to the drains is not impeded.

13.1.11 Watering: Due to rapid drainage in the growing medium, absence of a water table, finite amount of soil, and exposure to the climatic conditions, soil areas on-slab will require more frequent watering than at ground level.

.1	A water supply should be conveniently located near all planting areas. An automatic irrigation system with drip emitter should be installed to serve all planted areas on slab, to ensure consistent watering and prevent plant losses due to drying.

13.1.12  Monitoring and Maintenance: Landscape over structures requires a higher level of monitoring and maintenance than other landscape areas. Maintenance practices as stated in Section 16, Landscape Maintenance Level 1 is often appropriate for landscapes over structures.